{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":35,"n_cols":11,"rows_kept":35,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,2],[2,4,2,6],[2,8,2,10],[4,0,10,0],[4,4,9,4],[5,8,9,8],[9,5,9,6],[9,9,9,10],[10,1,10,2],[10,4,15,4],[10,8,15,8],[11,0,15,0],[15,1,15,2],[15,5,15,6],[15,9,15,10],[16,0,21,0],[16,4,23,4],[16,8,16,10],[18,8,23,8],[21,1,21,2],[22,0,27,0],[23,5,23,6],[23,9,23,10],[27,1,27,2],[28,0,34,0],[29,5,30,10],[34,1,34,2]],"flags":["formulas_cached_only"]}
["附件：江苏第二师范学院餐厅油烟管道清洗明细"]
[]
["1.草场门校区",{"$nulls":3},"2.浦口校区",{"$nulls":3},"3.小行校区"]
["部门","清洗项目","数量",null,"部门","清洗项目","数量",null,"部门","清洗项目","数量"]
["大食堂","室外排烟竖管","8米",null,"第一食堂","室外排烟竖管","10米",null,null,"室外排烟竖管","13米"]
[null,"室内排烟横管","6米",null,null,"室内排烟横管","8米",null,"梅花餐厅","室内排烟横管","11米"]
[null,"集烟罩","5米",null,null,"烟罩","7米",null,null,"烟罩","10米"]
[null,"土灶","10米",null,null,"油烟风机（5.5kw）","1台",null,null,"油烟风机（7.5kw）","1台"]
[null,"油烟风机（7.5kw）","1台",null,null,"净化器","1台",null,null,"净化器","1台"]
[null,"油烟净化器","1组",null,null,"金额：       元/年",{"$nulls":3},"金额：      元/年"]
[null,"金额：     元/年",null,null,"自助餐厅","室外排烟竖管","10米",null,"乐享餐厅","室外排烟竖管","9.5米"]
["逸香阁","室外排烟竖管","15米",null,null,"室内排烟横管","6米",null,null,"室内排烟横管","9米"]
[null,"室内排烟横管","8米",null,null,"烟罩","5米",null,null,"烟罩","8米"]
[null,"烟罩","8米",null,null,"油烟风机（5.5kw）","1台",null,null,"油烟风机（7.5kw）","1台"]
[null,"油烟风机（7.5kw）","1台",null,null,"净化器","1台",null,null,"净化器","1台"]
[null,"金额：     元/年",{"$nulls":3},"金额：       元/年",{"$nulls":3},"金额：      元/年"]
["好时光","室外排烟竖管","2.5米",null,"第二食堂一楼、二楼","室外排烟竖管","24米",null,"4.上海路校区"]
[null,"室内排烟横管","6米",null,null,"室内排烟横管","28米",null,"部门","清洗项目","数量"]
[null,"烟罩","5米",null,null,"烟罩","25米",null,"预科学院","室外排烟竖管","15米"]
[null,"油烟风机（5.5kw）","1台",null,null,"油烟风机（5.5kw）","2台",null,null,"油烟管道","5米"]
[null,"油烟净化器","1组",null,null,"箱式风机","1台",null,null,"烟罩","4米"]
[null,"金额：     元/年",{"$nulls":7},"油烟风机（7.5kw）","1台"]
["好记","室外排烟竖管","8米",{"$nulls":6},"净化器","1台"]
[null,"室内排烟横管","5米",null,null,"金额：      元/年",{"$nulls":3},"金额：      元/年"]
[null,"烟罩","4米"]
[null,"油烟风机（7.5kw）","1台"]
[null,"油烟净化器","1组"]
[null,"金额：     元/年"]
["师生缘\n一、二楼","室外排烟竖管","7米"]
[null,"室内排烟横管","6米",null,null,"全年清洗费用总计：    元/年"]
[null,"烟罩","6米"]
[null,"油烟风机（5.5kw）","1台"]
[null,"排烟机","1台"]
[null,"油烟净化器","1组"]
[null,"金额：     元/年"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}